## Slide 1: PCA of spectral data

## Slide 3
function [S,L,v] = pcatf(X,k)
% PCA
% usage [S,L,v] = pcatf(X,k)
% input X - n x p matrix of spectra (in rows)
% k - number of components to return
% output S - n x k matrix of scores
% L - p x k matrix of loadings
% v - eigenvalues
X = X - ones(size(X,1),1)*mean(X);
[U,E,V] = svd(X,0);
S = U(:,1:k); % scores
e = diag(E);
e = e(1:k);
v = e.^2; % variance explained
L = V(:,1:k)*diag(1./e); % loadings
A bit more maths and computing to start with
When p>n the singular value decomposition (SVD) decomposes X as X=UEVT where U is an n×n matrix of scores, E is a diagonal n×n matrix of singular values, and V is a p×n matrix of loadings (in columns). U and V are such that UTU = I and VTV = I.
In fact with the columns of X centred the last element of E and the last column of V are zero.
Note that (1) using this compact version of the SVD saves a lot of computing here and (2) computing X’X and finding its eigenvalues and eigenvectors would be wasteful

## Slide 7
We can reconstruct the spectra from the components of the singular value decomposition.
The left-hand plot shows the original spectra, the right-hand plot is the result of calculating UEVT from the output of the singular value decomposition and adding the mean spectrum
It is more interesting to use fewer PCs…

## Slide 8
-0.2489
-0.1690
0.0127
-0.3239
-0.2224
-0.2007
0.2754
0.0707
-0.1163
0.0036
-0.0436
0.0968
0.0099
0.0360
0.1213
0.1867
-0.1260
0.2491
-0.2074
0.1423
0.2690
-0.1075
0.4118
0.0485
-0.2067
-0.1462
0.0766
0.0079
0.0447
0.0419
0.0510
0.1777
0.0180
0.0067
0.0654
-0.1959
-0.0007
-0.0994
-0.0093
× 97.2 ×
Scores × singular value × loading + mean spectrum = 1 factor reconstruction
+
=

## Slide 12
The loadings get noisier as they start to explain the noise in the spectra.

## Slide 15
Red triangle – moisture < 13.7%
Blue cross – 13.7% < moisture <15%
Cyan triangle – moisture >15%

## Slide 16
Don’t get carried away with interpreting loadings. There is no reason why any one PC should correspond to any one single property of the sample, unless that property dominates the variability in the spectra

## Slide 17
An outlier?

## Slide 18
Blue = training set, n=39
Red = test set, n=31

## Slide 19
Raw spectra

## Slide 20
SNV treated spectra

## Slide 21
D2, SG window = 5 points

## Slide 22
D2, SG window = 7 points

## Slide 23
D2, SG window = 9 points

## Slide 24
D2, SG window = 11 points

## Slide 25
Second derivative spectra

## Slide 26
Raw spectra, cut at 2350 nm

## Slide 27
Second derivative spectra with SNV, cut at 2350 nm